# Reminder List

The following tasks have been identified.  These tasks have been listed here so that tasks identified early in the project, but requiring action until later, don’t get forgotten.

| Task Number | Date Identified | Date Completed | Issue |
| --- | --- | --- | --- |
| 1 | 05/02/01 | 09/02/01 | Advise PCL to do additional analysis as soon as MP has confirmed that NZSki.Com have agreed to this. |
| 2 | 05/02/01 | 09/02/01 | Advise PCL of corrected loadings, and the loadings to be used for design. |
| 3 | 05/02/01 | 09/02/01 | Advise PCL re commercial terms. |
| 4 | 05/02/01 | 09/02/01 | Advise PCL that Air NZ may be able to assist with air freight. |
| 5 | 05/02/01 |  | Design modifications to pole (where Rocky Gully T & Lower Pumps supply branches off) to accommodate CT’s. |
| 6 | 16/02/01 |  | Resolve how to terminate the double cables coming into the basement. Consider the issue of where to install surge arrestors at the same time. |
| 7 |  |  |  |
| 8 |  |  |  |
| 9 |  |  |  |
| 10 |  |  |  |